The high-throughput tissue grinder allows for fast, efficient grinding of up to 4*96 samples simultaneously in 3 minutes. It can be dry-grinded, wet-grinded and mixed, and homogenized. In addition, special cell broken beads can break the ultrasonic and high-pressure broken cells that are difficult to break. The types of samples include: plant tissue (rice, corn, wheat, beans, peanuts, seeds, stems, roots, leaves, cotton fabrics), animal tissues (muscle, small intestine, heart, liver, lungs, fur, bones, etc.) , cells, bacteria, yeast and spores. For the extraction of nucleic acids in large-scale samples, the grinding efficiency and quality are greatly improved, the labor cost is reduced, and the labor intensity of the operator is reduced.

Principle: Add small steel balls or zirconia balls to the grinding tank or centrifuge tube containing the sample. The grinding tank or adapter vibrates in the vertical direction. Under the action of high frequency vibration, the small ball hits the sample at high speed to complete the grinding of the sample.

Grinding with a grinding ball makes the grinding of the sample more uniform and sufficient than the conventional grinding method. The high-flux tissue grinder can also be used as a homogenizer to add steel balls and cell beads to the grinding jar to effectively break up the difficult-to-break cells by ultrasonic high-pressure crushing, and rapidly disperse the sample by using high-density small steel beads or zirconia beads.

Technical Parameters

Power: 220V/50HZ

Power: 180W

Time setting: 1s-9999s

Frequency setting: 10-70HZ, that is, oscillation 300-2100 times / min

Jig stroke: 34mm (vertical)

Sample capacity: 2ml adapter 48-well, 5ml adapter 12-well

Display mode: 7 inch TFT touch screen display

Protection: open cover protection, emergency braking function

Dimensions: L369*W360*H520mm